## Slide 1
Onsite Wastewater Treatment System Installation Challenges
Notes: Welcome to the Colorado Professionals in Onsite Wastewater presentation on site evaluation for onsite wastewater treatment system design.
This presentation will identify the process to evaluation a site for design and construction of an onsite wastewater treatment system.

## Slide 2: Alps Inn 38619 Boulder Canyon Drive
Title Transfer inspections indicated that the system was functioning properly.
New owner just need an engineer to write a letter stating that the system was acceptable for the proposed use.
Notes: New system could be a brand new system or a repair.

## Slide 3: 38619 Boulder Canyon Drive

## Slide 4: Site
Google Maps
Notes: Anticipated construction-related issues, if applicable;
An assessment of how known or reasonably foreseeable land use changes are
expected to affect the system performance, including, but not limited to, changes
in drainage patterns, increased impervious surfaces and proximity of new water
supply wells, if applicable; and
A narrative explaining difficulties encountered during the site evaluation,
including but not limited to identifying and interpreting soil and landform features
and how the difficulties were resolved, if applicable.

## Slide 6: Existing OWTS
Notes: Anticipated construction-related issues, if applicable;
An assessment of how known or reasonably foreseeable land use changes are
expected to affect the system performance, including, but not limited to, changes
in drainage patterns, increased impervious surfaces and proximity of new water
supply wells, if applicable; and
A narrative explaining difficulties encountered during the site evaluation,
including but not limited to identifying and interpreting soil and landform features
and how the difficulties were resolved, if applicable.

## Slide 7: Existing Tanks
Notes: Anticipated construction-related issues, if applicable;
An assessment of how known or reasonably foreseeable land use changes are
expected to affect the system performance, including, but not limited to, changes
in drainage patterns, increased impervious surfaces and proximity of new water
supply wells, if applicable; and
A narrative explaining difficulties encountered during the site evaluation,
including but not limited to identifying and interpreting soil and landform features
and how the difficulties were resolved, if applicable.

## Slide 9: Available Area for STA
Notes: Anticipated construction-related issues, if applicable;
An assessment of how known or reasonably foreseeable land use changes are
expected to affect the system performance, including, but not limited to, changes
in drainage patterns, increased impervious surfaces and proximity of new water
supply wells, if applicable; and
A narrative explaining difficulties encountered during the site evaluation,
including but not limited to identifying and interpreting soil and landform features
and how the difficulties were resolved, if applicable.

## Slide 10: OWTS Layout

## Slide 11: Group Home 2,000-GPD
  1,000-Gal Grease Interceptor Tank
  Two 2,000-Gal Septic Tanks
  2,000-Gal Recirculation/Dosing Tank
  AdvanTex AX100 Treatment Pod
  Sand Filter with H-20 Rated Traffic Rated Chambers

## Slide 12: OWTS Construction Challenges
  Water Cisterns
  CDOT Right of Way
  Bike Lane and Road Traffic
  Rock Removal
  Access for Importing Sand & Gravel

## Slide 13: OWTS Layout
Notes: The cisterns had to be installed prior to the STA so that construction traffic wasn’t crossing the newly constructed STA.

## Slide 14: Water Cisterns

## Slide 15: CDOT Right of Way Avoidance

## Slide 17: Tanks and Treatment

## Slide 18: Access to STA
Notes: Anticipated construction-related issues, if applicable;
An assessment of how known or reasonably foreseeable land use changes are
expected to affect the system performance, including, but not limited to, changes
in drainage patterns, increased impervious surfaces and proximity of new water
supply wells, if applicable; and
A narrative explaining difficulties encountered during the site evaluation,
including but not limited to identifying and interpreting soil and landform features
and how the difficulties were resolved, if applicable.

## Slide 20: Rock Removal
Notes: Anticipated construction-related issues, if applicable;
An assessment of how known or reasonably foreseeable land use changes are
expected to affect the system performance, including, but not limited to, changes
in drainage patterns, increased impervious surfaces and proximity of new water
supply wells, if applicable; and
A narrative explaining difficulties encountered during the site evaluation,
including but not limited to identifying and interpreting soil and landform features
and how the difficulties were resolved, if applicable.

## Slide 22: Import Of Material
Notes: Anticipated construction-related issues, if applicable;
An assessment of how known or reasonably foreseeable land use changes are
expected to affect the system performance, including, but not limited to, changes
in drainage patterns, increased impervious surfaces and proximity of new water
supply wells, if applicable; and
A narrative explaining difficulties encountered during the site evaluation,
including but not limited to identifying and interpreting soil and landform features
and how the difficulties were resolved, if applicable.

## Slide 24: Land Use Changes

## Slide 26: Finished STA Driveway

## Slide 27
Thank You
Church OWC, LLC.
Kate Carney, P.E.
kcarney@cowc.info
720-837-6397
CWS Excavating
Matthew Morgan
matthew@cwsexcavating.com
303-243-2298