## Slide 1: International Perspectives for On-site & Decentralized Wastewater
Ben Kele: Managing Director of Arris Pty Ltd

## Slide 3: Australia/North America Comparison

## Slide 7: TradeMutt

## Slide 8: Why Are There Difference Across the World?

## Slide 9: Wombats

## Slide 10: We Don’t Produce Wastewater the Same

## Slide 11: Different Priorities

## Slide 12: History of Regulations
The Big Stink in the Thames
Dr John Snow and the pump handle
Public Health Acts

## Slide 13: On-Site Wastewater Regulations
Generally Municipal wastewater regulations have been transferred over to the on-site sector
  Especially in regards to water quality
Challenges as most Municipal sites discharge to water whereas on-site systems disperse into soil
Means that some of the water quality parameters are not a great fit
  Such as BOD (BOD5, cBOD5)
Historical methods tend to linger
  Influenced by mythical numbers
  Blue Baby Syndrome
Change in test parameter is very hard
  Escherichia coli (indicator)

## Slide 14: Accreditation Sites
Reasonably similar across the USA, Canada, Europe, the UK, Australia and New Zealand
Some differences in inflow concentrations, temperatures, flow volumes
Aim to make a uniform and fair process for different brands of on-site system to be tested
Uses a ‘domestic’ strength inflow wastewater

## Slide 15: Accreditation Sites

## Slide 16: What We’ve Learnt From Running a Testing Facility
High level of installation errors
  Over 70%
High level of faults in units
  Over 50%
Reliability issues over the course of the trial period
Difficulty in getting manufacturers to site for maintenance
Slight changes in temperature and inflow water quality can quickly impact treated water quality
Green marketing can impact water quality (energy consumption)
  Surprising to us, because this is not a cheap process to undertake
Issues with ‘non-domestic’ wastewater at the Test Facility

## Slide 17: International Accreditation Standards
NSF water quality limits for the testing of on-site wastewater treatment systems are relatively ‘dilute’
Australia has Australian Standard (AS) 1546.3
  BOD5 is much higher than most other nations
Prevalence of drought in Australia has meant that water efficient infrastructure is used
  WELS: water efficient labelling scheme
  Toilets, shower heads, dishwashers, washing machines, taps, urinals.
Increased the concentration of certain contaminates in untreated wastewater
  TSS, TN, TP, & BOD/COD
Change in AS 1546.3 meant that Australian on-site systems needed to be recertified
  Some struggled with the changes in untreated wastewater limits
Commercial sites often have untreated wastewater concentrations outside of typical domestic ranges

## Slide 18: Frogs in the Toilet are a ‘Thing’

## Slide 19: Domestic Inflow Water Quality

## Slide 20: Lessons from AS1546.3
Any type of system can fail…or pass…
  Pressure dosing
Peak flow and/or surge testing
  Tests the capacity for hydraulic short circuits to adversely impact water quality
Holiday testing
  Tests the impact of a no-flow scenario on water quality
Winter testing
  Impact of lower temperatures on performance
  Air temperature is critical
Installation errors are common
Competition impacts on the design of the system
  Size of system
Passive and low input systems are typically non-propriety
  Specialised equipment, such as tunnel/chambers, used in installation
Testing a passive/low input system can be challenging
  Liners

## Slide 21: Lessons Not Taught by AS1546.3
Great effort is made to ensure inflow wastewater is consistent at an accreditation site
Real life is often very different
  Water quality, flow patterns, site issues
  Can be as simple as the number of people in a dwelling
Maintenance at a testing site is done promptly
  Systems monitored by SCADA
  Maintenance in the real world can be very infrequent
Lack of organic carbon
Influence of contaminants of concern
  Disinfectants, wet wipes, cleaning chemicals, etc
Different installation methods
Soil types at sites
Opinions of relevant Regulators

## Slide 22: Climate: Evapotranspiration Modelling

## Slide 23: Reference FAO56 Evapotranspiration
Example Daily ET0 for 2 years
Darwin vs Mintaro
Chart: DARWIN
Chart: MINTARO

## Slide 24: Soils in On-site Wastewater Regulations
Often neglected in regulations in regards to specific risks
Water quality parameters are generally linked to water discharge not soil dispersal
  BOD or organic carbon is bad for streams/lakes/aquifers/oceans, but essential for soil health
Gravity versus pressure dosing regulations are interesting
  Distribution boxes
Little attention is paid to salinity and sodicity risks

## Slide 25: Soil Health

## Slide 26: Salinity
Salts can be defined as compounds that disassociate in water to form negative ions (anions) and positive ions (cations) (Patterson, 2007).
Chemically a salt is the result of a neutralisation reaction between an acid and a base (Lambert and Turner, 2000).
A salt is an ionic compound that can be either an organic or inorganic chemical (Lambert and Turner, 2000).
The concentration of all salts present in a soil or water is the definition of salinity (VanDeGraaff and Patterson, 2001).

## Slide 27: Types of Salinity

## Slide 28: Sodicity
Sodium is present in most types of water and soil
The sodium absorption ratio (SAR) is the comparison of the relative preponderance of dissolved sodium (Na) ions in water in contrast to the concentrations of dissolved calcium (Ca) and magnesium (Mg)

## Slide 29: Sodicity
SAR = Na/
Where: Concentrations are in centimoles (+) per litre (Van de Graaff and Patterson 2001)
What impact the SAR has when applied to a soil is greatly depended on the soil structural components (sand, silt, clay), the cation exchange capacity (CEC) and the exchangeable sodium percentage (ESP) of the soil.

## Slide 30: Sodicity Relationship with 3 Soils

## Slide 31: Impact of Salinity & Sodicity

## Slide 32: Australian Soils

## Slide 33: Rainwater Tanks
Legal all over Australia
Used in Urban & Rural Areas
Don’t need to meet drinking water standards
  Around 15% of the Population uses for drinking water
Competes with treated wastewater for water recycling opportunities
  Toilet flushing
  Laundries

## Slide 34: Abundance of Freshwater in USA

## Slide 35: Rainwater Tanks
Overall good quality water
  Low salinity
  Low microbes
  Low TSS
  Low BOD/COD
  Very soft
The low pH can cause issues
Biomat/sludge layer can form on the bottom of the tank

## Slide 36: Cleaning Rainwater Tanks

## Slide 37: Decentralized Domestic
Popularity varies across Australia
  Hundreds of systems in some States
  Relatively few in others
But increasing in popularity
  Regulator & Government support
  Housing crisis
Often uses treatment chains rather than a single package ATU unit
  Small to Medium pipe

## Slide 39: Decentralized: Non-Domestic
Many different types of sites
  Commercial
  Industrial
  Leachate
  Mining & Gas
Require different types of treatment solutions that are ‘fit-for-purpose’ to the type of wastewater being treated and the reuse/dispersal method
Discharge to water is more common than for domestic decentralized
  Very high water quality can be achieved

## Slide 40: No Such Magic Place as ‘Away’

## Slide 41: Risk Management

## Slide 42: Reverse Osmosis
Very good water quality
  This itself may cause issues
Not very effective at reducing SAR
  Need for chemical adjustment
Very effective at reducing Salinity
Some ions not effectively removed
  Boron, Bromide, sometimes Fluoride
Energy intensive
High Opex
Produces a brine

## Slide 43: Excellent Water Quality is No Problem…Right?

## Slide 45: Too Much Good Quality Water Hasn’t been a Traditional Problem

## Slide 46: Risk Assessment

## Slide 47: Research for On-Site & Decentralized
Water research has trends
Often influenced by Big-Pipe Issues
  Doesn’t mean they are not interesting
  Important data can be collected
Funding grants specifically for on-site & decentralized issues are very rare
Industry Associations are very important in ensuring good research is performed

## Slide 48: Australian On-Site Conference
1st Conference in 13 years held in 2025
Would not have happened without the support of NOWRA members & the US Industry
Looking to restart an Australian On-site Wastewater Association in 2026
Next Conference in 2027
Updates connect with me on LinkedIn and/or follow Arris Water on LinkedIn